{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["S700 & S600","S500 & S300","S200 & S100"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":3,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"S700 & S600","index":0,"n_rows":178,"n_cols":19,"rows_kept":178,"cut":false,"hidden":false,"merged":[[3,0,3,4],[177,0,177,4]]}
[{"$nulls":5},"主推","主推","主推",{"$nulls":4},"主推","主推","主推"]
["Product ",null,null,null,"原定义机器型号名","S700","S730","S780","S760","S750","S720","S710","S600","S630","S680","S660","S650","S620","S610"]
[{"$nulls":4},"新需求机型型号名:从左到右机型为高级到低级","S700 Super","S700 Express","S700 Power","S700 Expert","S700 Plus","S700 Pro ","S700","S600Super","S600Express","S600Power","S600Expert","S600Plus","S600Pro ","S600"]
["显示器可选_23.8/21.5；触摸屏可选_15.6/13.3            ",{"$nulls":4},"显示器可选_23.8/21.5；触摸屏可选_15.6/13.3   "]
[" 2D Imaging Features","Product-OptionalFeatures ",null,"IPN"]
["VFusion","VFusion",null,"复合超声成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VSpeckle I ",null,null,"I型组织斑点噪声抑制 ",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Advanced VSpeckle I","Vspeckle1New","V30209","新I型组织斑点噪声抑制 ",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VTissue","VTissue","V30041","组织速度特征成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto optimization","Auto optimization",null,"自动优化",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Easy Compare","Easy Compare","V30063","记忆追踪对比技术",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Duplex/Triplex 2D/Color/PW","Duplex/Triplex 2D/Color/PW","V30081","二同步/三同步图像显示",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["CWD","CWD","V30051","连续多普勒",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["PWD","PW",null,"脉冲多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["RF based Zoom","ReadZoom","V30590","实时局部放大",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["FULL screen","FullScreen","V30310","全屏显示",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Smart Touch Zoom","Smart Touch Zoom","V30175","图像触摸屏缩放操作模式",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["CFI function","CF",null,"彩色多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["advanced CFI","FlowNewAlgorithm",null,"高灵敏度彩色多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["PDI function","PDI",null,"能量多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["B+CF simultaneously ","B+CF simultaneously","V30064","灰阶与彩色双幅显示",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["CF Velocity Profile","CF Velocity Profile","V30179","血流速度分布图",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["TView ","TView","V30052","梯形成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Pview","PView","V30031","宽景成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Color M mode","Color M-mode","V30061","彩色M型",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["MAM (multi angle M mode)","Multi Angle M-mode with 360 degree rotation","V30021","全方位M型",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Curve M Mode",null,"V30596","曲线解剖M型",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Tissue Doppler (TD)","TD","V30065","组织多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Tissue Velocity Imaging (TVI)","TVI","V30036","组织速度成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Tissue Velocity M-mode (TVM)","Tissue Velocity M-mode (TVM)","V30039","组织速度M型",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Tissue Power Imaging (TPI)","Tissue Power Imaging(TPI)","V30170","组织多普勒能量图",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto IMT","Auto IMT","V30033","颈动脉内中膜自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto EF","Auto EF","V30149","左心室射血分数自动测量包",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto OB","Auto OB","V30171","产科自动测量",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto Bladder","Auto Bladder","V30172","膀胱自动测量",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Tissue/pulse inversion harmonic","Har",null,"组织/反相脉冲谐波成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Elastic imaging","Elastic imaging","V30053","弹性成像",null,"X","X","X","X","X","X","X","O","O","O","O","O","O","O"]
["Contrast imaging","Contrast imaging","V30054","CBI微泡造影成像(包含PPI造影分析)",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["B/Color steer",null,"V30595","灰阶与彩色独立偏转",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Needle enhancement","Needle enhancement","V30080","穿刺增强",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Support Mobile data transmission via Bluetooth and E-Mail","Support Mobile data transmission via Bluetooth and E-Mail","V30082","移动图像传输方案",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["SGC","Scanline Gain Compensation","V30107","扫描增益补偿",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Tutorials","Tutorial","V30195","超声教学功能",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["PWV","Pulse Wave Velocity(PWV)","V30210","脉搏波定量分析",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["AMAS( Automatic measurement of Arterial stiffness ) ","Advanced PWV","V30354","整体动脉僵硬度自动测量系统",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Stress Echo","Stress Echo","V30211","负荷成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["2D auto follicle","Auto Follicle","V30212","二维卵泡自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["HSG","C3DC4D(HSG)","V30215","输卵管容积造影",null,"X","X","X","X","X","X","X","O","O","O","O","O","O","O"]
["VINNO Cardiac Quantification","vCQ","V30291","辅助诊疗功能",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Zone Imaging","ZoneImage","V30303","全御相关成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[" VFlow","HQFlow","V30355","高灵敏度血流",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Strain Imaging","Strain Rate","V30356","应变成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VAid (Real-time Auto Breast Lesion Detection)","AI","V30357","乳腺自动化病灶辅助检测",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["VAid Thyroid","AI_Thyroid","V30617","甲状腺自动检测分析",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["MSK","MSKPackage","V30361","肌骨",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VReport","VReport","V30363","VReport",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Remote Examination","Remote Examination","V30420","远程考核",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[" VLuminous Flow","RadiantFlow","V30495","立体血流",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Live IMT","AutoImtInScan","V30496","实时IMT",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for OB","OB AIMeasure","V30497","VAim:产科自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for HIP","DDH AIMeasure","V30498","VAim:小儿髋关节自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for Follicle","Follicle AIMeasure","V30499","VAim:卵泡自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for Pelvic","VAS AIMeasure","V30500","VAim:盆底脱垂自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for LEVA(3D)","LEVA AIMeasure","V30501","VAim:3D盆底肛提肌裂孔自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Customized Auto Workflow(VWork)","Auto Works","V30502","自定义工作流(VWork)",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto Flow Volume","Auto Flow Volume","V30531","血流量自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["ECG Function","ECG","V30786","ECG 软件功能",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
[]
["3D/4D Imaging Features"]
["3D imaging","3D imaging","V30135","三维成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Real-time grayscale 4D","Real-time grayscale 4D","V30066","实时灰阶四维",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["4D Volume/sec (65 angle)",null,null,"四维帧频"]
["Tomographic display (Mcut)","Tomographic display (Mcut)","V30067","超声断层成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Rendering algorithms",null,null,"渲染方式"]
["- maximum, minimum, XΔRay",null,null," 最大、最小、X光显影模式",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["- surface, smooth",null,null,"表面模式、平滑模式",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Parameter adjustable after freeze",{"$nulls":4},"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["HQ (High Quality) 3D/4D","HQ3D,HQ4D","V30035","羊膜腔镜成像技术",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Spatio Temporal Image Correlation (STIC)","Spatio Temporal Image Correlation (STIC)","V30037","时间空间相关成像",null,"Δ","Δ","Δ","Δ","Δ","Δ","-","Δ","Δ","Δ","Δ","Δ","Δ","-"]
["Auto NT","Auto NT","V30040","自动颈项透明层测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto IT measure","Auto IT","V30503","自动IT(颅内透明层)测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Inversion mode","Inversion mode","V30057","灰阶反转模式",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Magic cut","Magic cut","V30058","魔术刀",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Smart touch panel 3D/4D operation","Smart touch panel 3D/4D operation","V30059","智能三维/四维触摸屏操作模式",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Free view","Free view","V30060","容积超声断层成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Smart 3D Volume Calculation","Smart 3D Volume Calculation","V30177","智能三维容积计算",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Free 3D","Free 3D","V30178","自由臂3D",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["3D auto follicle","Follicle 3D","V30213","三维卵泡自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["4D HQ Silhouette mode","HQSilhouette","V30358","HQ剪影模式",null,"O","O","O","O","O","O","O","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Export 3D data for 3D printer","Export 3D data for 3D printer","V30504","导出3D打印数据",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto Levator Ani","Auto Levator Hiatus","V30505","3D盆底肛提肌裂孔自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["3D Smart Face","3D Smart Face","V30506","智能胎儿面部成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VNavIn","Endoscope3D","V30552","超声3D内视渲染技术",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Niche View\n","Niche View\n","V30439","壁龛成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[]
["General Specification"]
["RF platform",null,null,"RF元数据平台",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Cineloop",null,null,"电影回放",null," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"]
["M2-SSD for ORCHID",null,"V30728","快速启动",null,"-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["SSD for quick bootup(E20 系列)",{"$nulls":4},"250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD"]
["Memory size",null,null,"内存",null,"8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G"]
["HDD(1T)",null,null,"硬盘",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Monitor size",null,null,"显示器",null,"23.8“","23.8“","23.8“","23.8“","23.8“","23.8“","23.8“","21“","21“","21“","21“","21“","21“","21“"]
["Touch panel ",null,null,"触摸屏操作",null,"15.6\"","15.6\"","15.6\"","15.6\"","15.6\"","15.6\"","15.6\"","13.3\"","13.3\"","15.6\"","15.6\"","13.3\"","13.3\"","13.3\""]
["Probe port",null,null,"标配探头接口",null,5,5,5,5,5,5,5,4,4,4,4,4,4,4]
["Integrated DVDRW ",null,null,"可读写DVD",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["B/W video printer slot",null,null,"黑白打印机安装槽",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Patient database",null,null,"病人数据",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Quick store",null,null,"USB快速存储",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Network storage and printing",null,null,"网络存储与网络打印",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto trace in PW/CW",null,null,"多普勒频谱自动包络",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Vascular calculations",null,null,"血管测量包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Cardiac calculations",null,null,"心脏测量包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["OB calculations and tables",null,null,"产科计算包及胎儿生长曲线表",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Gynecological calculations",null,null,"妇科计算包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Urological calculations",null,null,"泌尿科计算包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Renal calculations",null,null,"肾脏计算包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Volume calculations",null,null,"容积计算",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["DICOM export and storage, printer, worklist","DICOM export and storage, printer, worklist","V30038","DICOM3.0基础功能（导出与存储，打印,列表）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["WIFI adapter for console",null,"V30019","无线适配器",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["LAN",null,null,"网络连接",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Transfer image to FTP server","Transfer image to FTP server","V30087","传输影像至FTP服务器",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["RF data export","RF data export","V30088","RF元数据导出",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["vCloud interface","vCloud","V30173","远程传输接口",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[]
["Ergonomics"]
["Articulating display",null,null,"自由显示臂",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Display up/down",null,null,"显示器上下升降",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["operation panel up/down",null,null,"操作平台上下移动",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["operation panel Swivel",null,null,"操作平台左右移动",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Operation panel FrontΔback adjustment",null,null,"操作平台前后移动",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Touch Screen angle adjust",null,null,"触摸屏角度可调",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Gel warmer",null,null,"耦合剂加温器",null,"X","X","X","X","X","X","X","O","X","X","X","X","X","X"]
["内置电池",null,null,"成对选配电池",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB single button foot switch software (need to buy foot switch separately)",null,null,"USB单踏脚踏开关(需另外购买开关）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB double button foot switch software (need to buy foot switch separately)",null,null,"USB双踏脚踏开关(需另外购买开关）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB video acquisition card for video output",null,null,"中安USB视频采集卡（US2000视频采集盒）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["battery discharge time",{"$nulls":4},"-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["battery charge time(fast/normal)",{"$nulls":4},"-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["battery package/UPS",{"$nulls":4},"-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["OR键盘托架组件",null,"V30510",null,null,"-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["新键盘托架组件（除60和86系列的其它大机器和CART-F/S/L）",null,"V30509",null,null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["ECG for series","美标/欧标",null,"心电图",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["外置导声胶加热器",null,"V10047","外置导声胶加热器",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB audio adapter",null,"V30341","USB 外置声卡 海备思HAGIBIS",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["HDMI and VGA",null,null,"HDMI and VGA",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[]
["I/O and peripherals"]
["Bluetooth adapter","Bluetooth adapter","V30082",null,null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB DVDRW ",{"$nulls":4},"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB port"]
["V9BAT",null," V30709 ",null,null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
[]
[]
["Probes","Product-ProbeSpecification","Δ：Optional（注册了但是不想卖）\n#：    Additional(未注册)\n-/tt:   Hidden(工程上或者市场不开放)\nO:     Standard(停售了)\nX:     Standard","成品探头IPN\n（选型系统）","裸探头IPN\n（标签上IPN）"]
["S1-8CM（192，MUX）","S1-8CM","V20062","1001284","1001283","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["X2-6C(192, mux)","X2-6C","V20002",1000164,1000043,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["F2-5C","F2-5CP","V20063",1000530,1000529,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["D2-6C（128）","D2-6C","V20065",1000946,1000945,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["D4-9E(148, mux)","D4-9EP","V20006",1000346,1000345,"X","-改为X","X","X改为-","X","-改为X","-","X","-变为X","X","X变为-","X","-变为X","-"]
["F4-9E(128)","F4-9EV","V20064",1000784,1000783,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["G3-9M(128)","G3-9M","V20039",1000521,1000520,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["G4-9M(128)","G4-9M","V20007",1000169,1000047,"X","X","X改为-","X改为-","X改为-","X改为-","X","X","X","X变为-","X变为-","X变为-","X变为-","X"]
["X3-10L(192)","X3-10L",null,null,1001325,"X","-改为X","-改为X","-改为X","X","X","X","X","-变为X","-变为X","-变为X","X","X","X"]
["X4-12L(192, mux)","X4-12L","V20008",1000170,1000042,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["X6-16L(192, mux)","X6-16L","V20009",1000171,1000044,"X","X","-改为X","X","-改为X","-改为X","X","X","X","-变为X","X","-变为X","-变为X","X"]
["U5-15LE(256, mux)","U5-15LE","V20011",1000173,1000101,"X","-改为X","-改为X","-改为X","X","X","X","X","-变为X","-变为X","-变为X","X","X","X"]
["F4-12L(128)","F4-12LV","V20058",1000742,1000741,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["I7-18L (Hock stick,128)","I7-18L","V20024",1000277,1000250,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["G1-4P（64）","G1-4PV","V20052",1000744,1000743,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["S1-6PS(64) ","S1-6PS","V20056",1001012,1001011,"X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["G3-10P(儿童心脏探头,64)","G3-10P","V20025",1000337,1000336,"X","X","X","X","X","X","X","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["BP4-9(128/128)","BP4-9","V20053",1000438,1000437,"X","X","X","X","X改为-","X改为-","X改为-","Δ","Δ","Δ","Δ","Δ变为-","Δ变为-","Δ变为-"]
["G1-3RS","G1-3RS",null,null,null,"X","X改为-","X","X","X","X改为-","X改为-","Δ","Δ变为-","Δ","Δ","Δ","Δ变为-","Δ变为-"]
[]
[]
[]
["700/600系列方案逻辑：\n1. STIC作差异化；S710/610机型不支持，其他机型招标支持；\n\n2. 探头以市场需求优先级来定义：\nS700/600作为最全的型号，730/630后续沿用R系列定义做为主推机型，应具备更齐全的探头，780/680重点考虑作为同档次相对高端机型计划；\n\n市场需求量高的X3-10L/X6-16L/U5-15LE（红底）不作差异化;\n市场需求量不高的D4-9E、G4-9M、BP4-9C、G1-3R（黄底）来做差异化；\n未来G3-9M有可能会取代G4-9M，因此保留其中一把作为常规应用，而BP4-9C、G1-3R、I7-18L作为特殊探头，在这个档次的产品不常用。"]

{"sheet":"S500 & S300","index":1,"n_rows":161,"n_cols":23,"rows_kept":161,"cut":false,"hidden":false,"merged":[[123,22,127,22]]}
[{"$nulls":5},"主推","主推","主推",{"$nulls":5},"主推","主推","主推"]
["Product ",null,"ProductDisplayName",null,"原定义机器型号名","S500","S530","S580","S560","S550","S570","S520","S510","S300","S330","S380","S360","S350","S370","S320","S310"]
[" 2D Imaging Features","Product-OptionalFeatures ",null,"IPN"]
["VFusion","VFusion",null,"复合超声成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VSpeckle I ",null,null,"I型组织斑点噪声抑制 ",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Advanced VSpeckle I","Vspeckle1New","V30209","新I型组织斑点噪声抑制 ",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VTissue","VTissue","V30041","组织速度特征成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto optimization","Auto optimization",null,"自动优化",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Easy Compare","Easy Compare","V30063","记忆追踪对比技术",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Duplex/Triplex 2D/Color/PW","Duplex/Triplex 2D/Color/PW","V30081","二同步/三同步图像显示",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["CWD",null,"V30302","T-CWD套件",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","需要硬件支持"]
["PWD","PW",null,"脉冲多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["RF based Zoom","ReadZoom","V30590","实时局部放大",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["FULL screen","FullScreen","V30310","全屏显示",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Smart Touch Zoom","Smart Touch Zoom","V30175","图像触摸屏缩放操作模式",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["CFI function","CF",null,"彩色多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["PDI function","PDI",null,"能量多普勒",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["B+CF simultaneously ","B+CF simultaneously","V30064","灰阶与彩色双幅显示",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["CF Velocity Profile","CF Velocity Profile","V30179","血流速度分布图",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["TView ","TView","V30052","梯形成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Pview","PView","V30031","宽景成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Color M mode","Color M-mode","V30061","彩色M型",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["MAM (multi angle M mode)","Multi Angle M-mode with 360 degree rotation","V30021","全方位M型",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Curve M Mode",null,"V30596","曲线解剖M型",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Tissue Doppler (TD)","TD","V30065","组织多普勒",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Tissue Velocity Imaging (TVI)","TVI","V30036","组织速度成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Tissue Velocity M-mode (TVM)","Tissue Velocity M-mode (TVM)","V30039","组织速度M型",null,"O","O","O","O","O","O","O","O","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Tissue Power Imaging (TPI)","Tissue Power Imaging(TPI)","V30170","组织多普勒能量图",null,"O","O","O","O","O","O","O","O","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Auto IMT","Auto IMT","V30033","颈动脉内中膜自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto EF","Auto EF","V30149","左心室射血分数自动测量包",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto OB","Auto OB","V30171","产科自动测量",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto Bladder","Auto Bladder","V30172","膀胱自动测量",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Tissue/pulse inversion harmonic","Har",null,"组织/反相脉冲谐波成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Elastic imaging","Elastic imaging","V30053","弹性成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Contrast imaging","Contrast imaging","V30054","CBI微泡造影成像(包含PPI造影分析)",null,"O","Δ","Δ","Δ","Δ","Δ","Δ","Δ","O","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["B/Color steer",null,"V30595","灰阶与彩色独立偏转",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Needle enhancement","Needle enhancement","V30080","穿刺增强",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Support Mobile data transmission via Bluetooth and E-Mail","Support Mobile data transmission via Bluetooth and E-Mail","V30082","移动图像传输方案",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["SGC","Scanline Gain Compensation","V30107","扫描增益补偿",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Tutorials","Tutorial","V30195","超声教学功能",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["PWV","Pulse Wave Velocity(PWV)","V30210","脉搏波定量分析",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["AMAS( Automatic measurement of Arterial stiffness ) ","Advanced PWV","V30354","整体动脉僵硬度自动测量系统",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Stress Echo","Stress Echo","V30211","负荷成像",null,"O","O","O","O","O","O","O","O","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["2D auto follicle","Auto Follicle","V30212","二维卵泡自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["HSG","C3DC4D(HSG)","V30215","输卵管容积造影",null,"O","O","O","O","O","O","O","O","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["VINNO Cardiac Quantification","vCQ","V30291","辅助诊疗功能",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Zone Imaging","ZoneImage","V30303","全御相关成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Strain Imaging","Strain Rate","V30356","应变成像",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["VAid (Real-time Auto Breast Lesion Detection)","AI","V30357","乳腺自动化病灶辅助检测",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["MSK","MSKPackage","V30361","肌骨",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["VReport","VReport","V30363","VReport",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Remote Examination","Remote Examination","V30420","远程考核",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[" VLuminous Flow","RadiantFlow","V30495","立体血流",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Live IMT","AutoImtInScan","V30496","实时IMT",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for OB","OB AIMeasure","V30497","VAim:产科自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for HIP","DDH AIMeasure","V30498","VAim:小儿髋关节自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for Follicle","Follicle AIMeasure","V30499","VAim:卵泡自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for Pelvic","VAS AIMeasure","V30500","VAim:盆底脱垂自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VAim for LEVA(3D)","LEVA AIMeasure","V30501","VAim:3D盆底肛提肌裂孔自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Customized Auto Workflow(VWork)","Auto Works","V30502","自定义工作流(VWork)",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto Flow Volume","Auto Flow Volume","V30531","血流量自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["ECG Function","ECG","V30786","ECG 软件功能",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
[]
["3D/4D Imaging Features"]
["3D imaging","3D imaging","V30135","三维成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Real-time grayscale 4D","Real-time grayscale 4D","V30066","实时灰阶四维",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["4D Volume/sec (65 angle)",null,null,"四维帧频"]
["Tomographic display (Mcut)","Tomographic display (Mcut)","V30067","超声断层成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Rendering algorithms",null,null,"渲染方式"]
["- maximum, minimum, XΔRay",null,null," 最大、最小、X光显影模式",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["- surface, smooth",null,null,"表面模式、平滑模式",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Parameter adjustable after freeze",{"$nulls":4},"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["HQ (High Quality) 3D/4D","HQ3D,HQ4D","V30035","羊膜腔镜成像技术",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Spatio Temporal Image Correlation (STIC)","Spatio Temporal Image Correlation (STIC)","V30037","时间空间相关成像",null,"Δ","Δ","Δ","Δ","-","-","-","-","Δ","Δ","Δ","Δ","-","-","-","-","如果加入支持，工作量很大"]
["Auto NT","Auto NT","V30040","自动颈项透明层测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto IT measure","Auto IT","V30503","自动IT(颅内透明层)测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Inversion mode","Inversion mode","V30057","灰阶反转模式",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Magic cut","Magic cut","V30058","魔术刀",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Smart touch panel 3D/4D operation","Smart touch panel 3D/4D operation","V30059","智能三维/四维触摸屏操作模式",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Free view","Free view","V30060","容积超声断层成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Smart 3D Volume Calculation","Smart 3D Volume Calculation","V30177","智能三维容积计算",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Free 3D","Free 3D","V30178","自由臂3D",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["3D auto follicle","Follicle 3D","V30213","三维卵泡自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["4D HQ Silhouette mode","HQSilhouette","V30358","HQ剪影模式",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Export 3D data for 3D printer","Export 3D data for 3D printer","V30504","导出3D打印数据",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Auto Levator Ani","Auto Levator Hiatus","V30505","3D盆底肛提肌裂孔自动测量",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["3D Smart Face","3D Smart Face","V30506","智能胎儿面部成像",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["VNavIn","Endoscope3D","V30552","超声3D内视渲染技术",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Niche View\n","Niche View\n","V30439","壁龛成像",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[]
["General Specification"]
["RF platform",null,null,"RF元数据平台",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Cineloop",null,null,"电影回放",null," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"]
["M2-SSD for ORCHID",null,"V30728","快速启动",null,"-","-","-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["SSD for quick bootup(s 系列)",{"$nulls":4},"250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD"]
["Memory size",null,null,"内存",null,"8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G","8G"]
["HDD(1T)",null,null,"硬盘",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["Monitor size",null,null,"显示器",null,"23.8“","23.8“","23.8“","23.8“","23.8“","23.8“","23.8“","23.8“","21.5“","21.5“","21.5“","21.5“","21.5“","21.5“","21.5“","21.5“","屏幕尺寸可选21/24"]
["Touch panel ",null,null,"触摸屏操作",null,"13.3\"","13.3\"",15.6,15.6,"13.3\"","13.3\"","13.3\"","13.3\"","13.3\"","13.3\"","15.6\"","15.6\"","13.3\"","13.3\"","13.3\"","13.3\"","屏幕尺寸可选13.3/15.6"]
["Probe port",null,null,"标配探头接口",null,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["USB DVDRW ",null,null,"USB DVDRW ",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","支持USB的"]
["B/W video printer slot",null,null,"黑白打印机安装槽",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Patient database",null,null,"病人数据",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Quick store",null,null,"USB快速存储",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Network storage and printing",null,null,"网络存储与网络打印",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Auto trace in PW/CW",null,null,"多普勒频谱自动包络",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Vascular calculations",null,null,"血管测量包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Cardiac calculations",null,null,"心脏测量包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["OB calculations and tables",null,null,"产科计算包及胎儿生长曲线表",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Gynecological calculations",null,null,"妇科计算包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Urological calculations",null,null,"泌尿科计算包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Renal calculations",null,null,"肾脏计算包",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Volume calculations",null,null,"容积计算",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["DICOM export and storage, printer, worklist","DICOM export and storage, printer, worklist","V30038","DICOM3.0基础功能（导出与存储，打印,列表）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["WIFI adapter for console",null,"V30019","无线适配器",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["LAN",null,null,"网络连接",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Transfer image to FTP server","Transfer image to FTP server","V30087","传输影像至FTP服务器",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["RF data export","RF data export","V30088","RF元数据导出",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["vCloud interface","vCloud","V30173","远程传输接口",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
[]
["Ergonomics"]
["Articulating display",null,null,"自由显示臂",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Display up/down",null,null,"显示器上下升降",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["operation panel up/down",null,null,"操作平台上下移动",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X",null,"亮点"]
["operation panel Swivel",null,null,"操作平台左右移动",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Touch Screen angle adjust",null,null,"触摸屏角度可调",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["Gel warmer",null,null,"耦合剂加温器",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["内置电池",null,null,"成对选配电池",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","代理商认为单独发电池成本高，不愿意单独发电池，只能随机机器发货；\n"]
["USB single button foot switch software (need to buy foot switch separately)",null,null,"USB单踏脚踏开关(需另外购买开关）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB double button foot switch software (need to buy foot switch separately)",null,null,"USB双踏脚踏开关(需另外购买开关）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB video acquisition card for video output",null,null,"中安USB视频采集卡（US2000视频采集盒）",null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["battery discharge time",{"$nulls":4},"-","-","-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["battery charge time(fast/normal)",{"$nulls":4},"-","-","-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["battery package/UPS",{"$nulls":4},"-","-","-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["OR键盘托架组件",null,"V30510",null,null,"-","-","-","-","-","-","-","-","-","-","-","-","-","-","-","-"]
["新键盘托架组件（除60和86系列的其它大机器和CART-F/S/L）",null,"V30509",null,null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["ECG for S系列",{"$nulls":4},"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB audio adapter",null,"V30341","USB 外置声卡 海备思HAGIBIS",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["HDMI and VGA",null,null,"HDMI and VGA",null,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","直接是HDMI接口"]
[]
["I/O and peripherals"]
["Bluetooth adapter","Bluetooth adapter","V30082",null,null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB DVDRW ",{"$nulls":4},"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O"]
["USB port"]
["Display Port"]
["V9BAT",null," V30709 ",null,null,"O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","O","用的V9电池"]
[]
[]
["Probes","Product-ProbeSpecification",null,"成品探头IPN\n（选型系统）","裸探头IPN\n（标签上IPN）",{"$nulls":16},"128基元以上/心脏64基元以上探头不支持"]
["F2-5C","F2-5CP","V20063",1000530,1000529,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["D2-6C（128）","D2-6C","V20065",1000946,1000945,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","亮点，期望图像质量提升"]
["F4-9E(128)","F4-9EV","V20064",1000784,1000783,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["G3-9M(128)","G3-9M","V20039",1000521,1000520,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["G4-9M(128)","G4-9M","V20007",1000169,1000047,"X","X","#","X","#","X","X","#","X","X","#","X","#","X","X","#"]
["F4-12L(128)","F4-12LV","V20058",1000742,1000741,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["I7-18L (Hock stick,128)","I7-18L","V20024",1000277,1000250,"Δ","Δ","Δ","#","Δ","#","#","Δ","Δ","Δ","Δ","#","Δ","#","#","Δ"]
["G1-4P（64）","G1-4PV","V20052",1000744,1000743,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X"]
["S1-6PS(64) ","S1-6PS","V20056",1001012,1001011,"X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","X","替代S1-6PV"]
["G3-10P(儿童心脏探头,64)","G3-10P","V20025",1000337,1000336,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["BP4-9(128/128)","BP4-9C","V20053",1000438,1000437,"Δ","Δ","Δ","Δ","Δ","Δ","#","#","Δ","Δ","Δ","Δ","Δ","Δ","#","#"]
["G1-3RS","G1-3RS",null,null,null,"Δ","#","X","#","#","X","#","#","Δ","#","X","#","#","X","#","#"]

{"sheet":"S200 & S100","index":2,"n_rows":180,"n_cols":13,"rows_kept":180,"cut":false,"hidden":false,"merged":[[179,0,179,2]]}
[]
[{"$nulls":4},"原定义机器型号名","S200","S200","S200","S200","S100","S100","S100","S100"]
[null,null,"ProductID",null,"新需求机型型号名:从左到右机型为高级到低级","S200 Super","S200 Express","S200 Power","S200 ","S100 Super","S100 Express","S100 Power","S100"]
[" 2D Imaging Features","Product-OptionalFeatures "]
["VFusion","VFusion",null,"复合超声成像",null,"X","X","X","X","X","X","X","X"]
["VSpeckle I ",null,null,"I型组织斑点噪声抑制 ",null,"X","X","X","X","X","X","X","X"]
["Advanced VSpeckle I","Vspeckle1New","V30209","新I型组织斑点噪声抑制 ",null,"X","X","X","X","X","X","X","X"]
["VTissue","VTissue","V30041","组织速度特征成像",null,"O","O","O","O","O","O","O","O"]
["Auto optimization","Auto optimization",null,"自动优化",null,"X","X","X","X","X","X","X","X"]
["Easy Compare","Easy Compare","V30063","记忆追踪对比技术",null,"X","X","X","X","X","X","X","X"]
["Duplex/Triplex 2D/Color/PW","Duplex/Triplex 2D/Color/PW","V30081","二同步/三同步图像显示",null,"X","X","X","X","X","X","X","X"]
["CWD",null,"V30302","T-CWD套件",null,"O","O","O","O","O","O","O","O"]
["PWD","PW",null,"脉冲多普勒",null,"X","X","X","X","X","X","X","X"]
["RF based Zoom","ReadZoom","V30590","实时局部放大",null,"X","X","X","X","X","X","X","X"]
["FULL screen","FullScreen","V30310","全屏显示",null,"X","X","X","X","X","X","X","X"]
["Smart Touch Zoom","Smart Touch Zoom","V30175","图像触摸屏缩放操作模式",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["CFI function","CF",null,"彩色多普勒",null,"X","X","X","X","X","X","X","X"]
["PDI function","PDI",null,"能量多普勒",null,"X","X","X","X","X","X","X","X"]
["B+CF simultaneously ","B+CF simultaneously","V30064","灰阶与彩色双幅显示",null,"X","X","X","X","X","X","X","X"]
["CF Velocity Profile","CF Velocity Profile","V30179","血流速度分布图",null,"X","X","X","X","X","X","X","X"]
["TView ","TView","V30052","梯形成像",null,"X","X","X","X","X","X","X","X"]
["Pview","PView","V30031","宽景成像",null,"O","O","O","O","O","O","O","O"]
["Color M mode","Color M-mode","V30061","彩色M型",null,"Δ","Δ","Δ","Δ","-","-","-","-"]
["MAM (multi angle M mode)","Multi Angle M-mode with 360 degree rotation","V30021","全方位M型",null,"O","O","O","O","O","O","O","O"]
["Curve M Mode",null,"V30596","曲线解剖M型",null,"O","O","O","O","O","O","O","O"]
["Tissue Doppler (TD)","TD","V30065","组织多普勒",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Tissue Velocity Imaging (TVI)","TVI","V30036","组织速度成像",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Tissue Velocity M-mode (TVM)","Tissue Velocity M-mode (TVM)","V30039","组织速度M型",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Tissue Power Imaging (TPI)","Tissue Power Imaging(TPI)","V30170","组织多普勒能量图",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Auto IMT","Auto IMT","V30033","颈动脉内中膜自动测量",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Auto EF","Auto EF","V30149","左心室射血分数自动测量包",null,"O","O","O","O","O","O","O","O"]
["Auto OB","Auto OB","V30171","产科自动测量",null,"X","X","X","X","X","X","X","X"]
["Auto Bladder","Auto Bladder","V30172","膀胱自动测量",null,"X","X","X","X","X","X","X","X"]
["Tissue/pulse inversion harmonic","Har",null,"组织/反相脉冲谐波成像",null,"X","X","X","X","X","X","X","X"]
["Elastic imaging","Elastic imaging","V30053","弹性成像",null,"-","-","-","-","-","-","-","-"]
["Contrast imaging","Contrast imaging","V30054","CBI微泡造影成像(包含PPI造影分析)",null,"-","-","-","-","-","-","-","-"]
["B/Color steer",null,"V30595","灰阶与彩色独立偏转",null,"X","X","X","X","X","X","X","X"]
["Needle enhancement","Needle enhancement","V30080","穿刺增强",null,"O","O","O","O","O","O","O","O"]
["Support Mobile data transmission via Bluetooth and E-Mail","Support Mobile data transmission via Bluetooth and E-Mail","V30082","移动图像传输方案",null,"X","X","X","X","X","X","X","X"]
["SGC","Scanline Gain Compensation","V30107","扫描增益补偿",null,"X","X","X","X","X","X","X","X"]
["Tutorials","Tutorial","V30195","超声教学功能",null,"X","X","X","X","X","X","X","X"]
["Maximum linear probe depth display (X6Δ16L)","X6-16L_MaxDepth",null,null,null,"10cm","10cm","10cm","10cm","10cm","10cm","10cm","10cm"]
["PWV","Pulse Wave Velocity(PWV)","V30210","脉搏波定量分析",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["AMAS( Automatic measurement of Arterial stiffness ) ","Advanced PWV","V30354","整体动脉僵硬度自动测量系统",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Stress Echo","Stress Echo","V30211","负荷成像",null,"O","O","O","O","O","O","O","O"]
["2D auto follicle","Auto Follicle","V30212","二维卵泡自动测量",null,"O","O","O","O","O","O","O","O"]
["HSG","C3DC4D(HSG)","V30215","输卵管容积造影",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["VINNO Cardiac Quantification","vCQ","V30291","辅助诊疗功能",null,"O","O","O","O","O","O","O","O"]
["Zone Imaging","ZoneImage","V30303","全御相关成像",null,"X","X","X","X","X","X","X","X"]
["Strain Imaging","Strain Rate","V30356","应变成像",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["VAid (Real-time Auto Breast Lesion Detection)","AI","V30357","乳腺自动化病灶辅助检测",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["MSK","MSKPackage","V30361","肌骨",null,"X","X","X","X","X","X","X","X"]
["VReport","VReport","V30363","VReport",null,"O","O","O","O","O","O","O","O"]
["Remote Examination","Remote Examination","V30420","远程考核",null,"X","X","X","X","X","X","X","X"]
[" VLuminous Flow","RadiantFlow","V30495","立体血流",null,"X","X","X","X","X","X","X","X"]
["Live IMT","AutoImtInScan","V30496","实时IMT",null,"O","O","O","O","O","O","O","O"]
["VAim for OB","OB AIMeasure","V30497","VAim:产科自动测量",null,"O","O","O","O","O","O","O","O"]
["VAim for HIP","DDH AIMeasure","V30498","VAim:小儿髋关节自动测量",null,"O","O","O","O","O","O","O","O"]
["VAim for Follicle","Follicle AIMeasure","V30499","VAim:卵泡自动测量",null,"O","O","O","O","O","O","O","O"]
["VAim for Pelvic","VAS AIMeasure","V30500","VAim:盆底脱垂自动测量",null,"O","O","O","O","O","O","O","O"]
["VAim for LEVA(3D)","LEVA AIMeasure","V30501","VAim:3D盆底肛提肌裂孔自动测量",null,"O","O","O","O","O","O","O","O"]
["Customized Auto Workflow(VWork)","Auto Works","V30502","自定义工作流(VWork)",null,"X","X","X","X","X","X","X","X"]
["Auto Flow Volume","Auto Flow Volume","V30531","血流量自动测量",null,"O","O","O","O","O","O","O","O"]
["ECG Function","ECG","V30786","ECG 软件功能",null,"O","O","O","O","O","O","O","O"]
[]
["3D/4D Imaging Features"]
["3D imaging","3D imaging","V30135","三维成像",null,"X","X","X","X","-","-","-","-"]
["Real-time grayscale 4D","Real-time grayscale 4D","V30066","实时灰阶四维",null,"X","X","X","X","X","X","X","X"]
["4D Volume/sec (65 angle)",null,null,"四维帧频"]
["Tomographic display (Mcut)","Tomographic display (Mcut)","V30067","超声断层成像",null,"O","O","O","O","O","O","O","O"]
["Rendering algorithms",null,null,"渲染方式"]
["- maximum, minimum, XΔRay",null,null," 最大、最小、X光显影模式",null,"X","X","X","X","X","X","X","X"]
["- surface, smooth",null,null,"表面模式、平滑模式",null,"X","X","X","X","X","X","X","X"]
["Parameter adjustable after freeze",{"$nulls":4},"X","X","X","X","X","X","X","X"]
["HQ (High Quality) 3D/4D","HQ3D,HQ4D","V30035","羊膜腔镜成像技术",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Spatio Temporal Image Correlation (STIC)","Spatio Temporal Image Correlation (STIC)","V30037","时间空间相关成像",null,"Δ","－","Δ","－","Δ","－","Δ","－"]
["Auto NT","Auto NT","V30040","自动颈项透明层测量",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Auto IT measure","Auto IT","V30503","自动IT(颅内透明层)测量",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Inversion mode","Inversion mode","V30057","灰阶反转模式",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Magic cut","Magic cut","V30058","魔术刀",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Smart touch panel 3D/4D operation","Smart touch panel 3D/4D operation","V30059","智能三维/四维触摸屏操作模式",null,"X","X","X","X","X","X","X","X"]
["Free view","Free view","V30060","容积超声断层成像",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Smart 3D Volume Calculation","Smart 3D Volume Calculation","V30177","智能三维容积计算",null,"O","O","O","O","O","O","O","O"]
["Free 3D","Free 3D","V30178","自由臂3D",null,"X","X","X","X","X","X","X","X"]
["3D auto follicle","Follicle 3D","V30213","三维卵泡自动测量",null,"O","O","O","O","O","O","O","O"]
["4D HQ Silhouette mode","HQSilhouette","V30358","HQ剪影模式",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["Export 3D data for 3D printer","Export 3D data for 3D printer","V30504","导出3D打印数据",null,"O","O","O","O","O","O","O","O"]
["Auto Levator Ani","Auto Levator Hiatus","V30505","3D盆底肛提肌裂孔自动测量",null,"O","O","O","O","O","O","O","O"]
["3D Smart Face","3D Smart Face","V30506","智能胎儿面部成像",null,"O","O","O","O","O","O","O","O"]
["Niche View\n","Niche View\n","V30439","壁龛成像",null,"X","X","X","X","X","X","X","X"]
[]
["General Specification"]
["RF platform",null,null,"RF元数据平台",null,"X","X","X","X","X","X","X","X"]
["Cineloop",null,null,"电影回放",null," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"," 1500 second"]
["M2-SSD for ORCHID",null,"V30728","快速启动",null,"-","-","-","-","-","-","-","-"]
["SSD for quick bootup(E20 系列)",{"$nulls":4},"250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD","250G SSD"]
["SSD for quick bootup(portable)",null,null,"快速启动",null,"-","-","-","-","-","-","-","-"]
["Memory size",null,null,"内存",null,"8G","8G","8G","8G","8G","8G","8G","8G"]
["HDD",null,null,"硬盘",null,"O","O","O","O","O","O","O","O"]
["Monitor size",null,null,"显示器",null,"21.5\"","21.5\"","21.5\"","21.5\"","21.5\"","21.5\"","21.5\"","21.5\""]
["Touch panel ",null,null,"触摸屏操作",null,13.3,13.3,13.3,13.3,13.3,13.3,13.3,13.3]
["Probe port",null,null,"标配探头接口",null,3,3,3,3,3,3,3,3]
["B/W video printer slot",null,null,"黑白打印机安装槽",null,"X","X","X","X","X","X","X","X"]
["Patient database",null,null,"病人数据",null,"X","X","X","X","X","X","X","X"]
["Quick store",null,null,"USB快速存储",null,"X","X","X","X","X","X","X","X"]
["Network storage and printing","Network Printer",null,"网络存储与网络打印",null,"X","X","X","X","X","X","X","X"]
["Auto track in PW/CW",null,null,"多普勒频谱自动包络",null,"X","X","X","X","X","X","X","X"]
["Vascular calculations",null,null,"血管测量包",null,"X","X","X","X","X","X","X","X"]
["Cardiac calculations",null,null,"心脏测量包",null,"X","X","X","X","X","X","X","X"]
["OB calculations and tables",null,null,"产科计算包及胎儿生长曲线表",null,"X","X","X","X","X","X","X","X"]
["Gynecological calculations",null,null,"妇科计算包",null,"X","X","X","X","X","X","X","X"]
["Urological calculations",null,null,"泌尿科计算包",null,"X","X","X","X","X","X","X","X"]
["Renal calculations",null,null,"肾脏计算包",null,"X","X","X","X","X","X","X","X"]
["Volume calculations",null,null,"容积计算",null,"X","X","X","X","X","X","X","X"]
["DICOM export and storage, ","DicomStoragePackage","V30359","DICOM3.0基础功能",null,"O","O","O","O","O","O","O","O"]
["DICOM printer/ worklist","DicomNetworkPackage","V30360","DICOM3.0接口",null,"O","O","O","O","O","O","O","O"]
["WIFI adapter for console",null,"V30019","无线适配器",null,"O","O","O","O","O","O","O","O"]
["LAN",null,null,"网络连接",null,"X","X","X","X","X","X","X","X"]
["Transfer image to FTP server","Transfer image to FTP server","V30087","传输影像至FTP服务器",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["RF data export","RF data export","V30088","RF元数据导出",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["vCloud interface","vCloud","V30173","远程传输接口",null,"X","X","X","X","X","X","X","X"]
[]
["Ergonomics"]
["Articulating display",null,null,"自由显示臂",null,"X","X","X","X","X","X","X","X"]
["display up/down",null,null,"显示器上下升降",null,"-","-","-","-","-","-","-","-"]
["operation panel up/down",null,null,"操作平台上下移动",null,"-","-","-","-","-","-","-","-"]
["operation panel Swivel",null,null,"操作平台左右移动",null,"-","-","-","-","-","-","-","-"]
["Operation panel FrontΔback adjustment",null,null,"操作平台前后移动",null,"-","-","-","-","-","-","-","-"]
["Touch Screen angle adjust",null,null,"触摸屏角度可调",null,"-","-","-","-","-","-","-","-"]
["Gel warmer",null,null,"耦合剂加温器",null,"-","-","-","-","-","-","-","-"]
["内置电池",{"$nulls":4},"O","O","O","O","O","O","O","O"]
["Foot rest",null,null,"踏脚装置",null,"-","-","-","-","-","-","-","-"]
["Foot switch",null,null,"集成式脚踏开关",null,"-","-","-","-","-","-","-","-"]
["USB single button foot switch software",null,null,"USB单踏脚踏开关(需另外购买开关）",null,"O","O","O","O","O","O","O","O"]
["USB double button foot switch software",null,null,"USB双踏脚踏开关(需另外购买开关）",null,"-","-","-","-","-","-","-","-"]
["USB video acquisition card for video output",null,null,"中安USB视频采集卡（US2000视频采集盒）",null,"O","O","O","O","O","O","O","O"]
["battery discharge time",{"$nulls":4},"-","-","-","-","-","-","-","-"]
["battery charge time(fast/normal)",{"$nulls":4},"-","-","-","-","-","-","-","-"]
["battery package/UPS",{"$nulls":4},"-","-","-","-","-","-","-","-"]
["OR键盘托架组件",null,"V30510",null,null,"-","-","-","-","-","-","-","-"]
["新键盘托架组件（除60和86系列的其它大机器和CART-F/S/L）",null,"V30509",null,null,"O","O","O","O","O","O","O","O"]
["CAMPH_ECG组件（V10 series）","美标/欧标","V30684/V30704","心电图"]
["ECG for S系列",{"$nulls":4},"O","O","O","O","O","O","O","O"]
["外置导声胶加热器",null,"V10047","外置导声胶加热器",null,"O","O","O","O","O","O","O","O"]
["USB audio adapter",null,"V30341","USB 外置声卡 海备思HAGIBIS",null,"Δ","Δ","Δ","Δ","Δ","Δ","Δ","Δ"]
["E20 UPS支架套件",null,"V30365",null,null,"O","O","O","O","O","O","O","O"]
["DVI to HDMI cable for trolley &TOONA_50cm",null,"V30424","DVI转HDMI视频输出线-50cm",null,"X","X","X","X","X","X","X","X"]
["HDMI port adapter ",null,"V30425","DVI转HDMI转接头",null,"X","X","X","X","X","X","X","X"]
[]
["I/O and peripherals"]
["Bluetooth adapter","Bluetooth adapter","V30082","蓝牙适配器",null,"O","O","O","O","O","O","O","O"]
["USB DVDRW ",{"$nulls":4},"O","O","O","O","O","O","O","O"]
["USB port"]
["Display Port"]
["USB B/W graphic printer slot"]
["S-video port, DVI port, VGA port "]
[]
[" 4 USB ports"]
["Power suit "]
["locking mechanism"]
["Up/down mechanism (>150mm)"]
["Battery pack (>4 hours working time)"]
["portable独立包装电池",null,"V30148"]
["V9BAT",null," V30709 "]
[]
[]
["Probes","Product-ProbeSpecification",null,"成品探头IPN\n（选型系统）","裸探头IPN\n（标签上IPN）"]
["F2-5C","F2-5CP","V20063",1000530,1000529,"X","X","X","X","X","X","X","X"]
["D2-6C（128）","D2-6C","V20065",1000946,1000945,"X","X","X","X","-","-","-","-"]
["F4-9E(128)","F4-9EV","V20064",1000784,1000783,"X","X","X","X","X","X","X","X"]
["G3-9M(128)","G3-9M","V20039",1000521,1000520,"X","X","X","X","X","X","X","X"]
["G4-9M(128)","G4-9M","V20007",1000169,1000047,"X","X","X","－","X","X","X","－"]
["F4-12L(128)","F4-12LV","V20058",1000742,1000741,"X","X","X","X","X","X","X","X"]
["G1-4P（64）","G1-4PV","V20052",1000744,1000743,"X","X","X","X","X","X","X","X"]
["G3-10P(儿童心脏探头,64)","G3-10P","V20025",1000337,1000336,"X","X","X","X","X","X","X","X"]
["BP4-9(128/128)","BP4-9C","V20053",1000438,1000437,"X","X","X","X","X","X","X","X"]
["G1-3RS","G1-3RS",null,null,null,"X","X","－","X","X","X","－","X"]
[]
[]
["200/100系列方案逻辑：\n1、S200/100以STIC、及不常用探头G4-9M/G1-3RS做差异化；差异化已经标黄；\n\n多注册型号的原因：\n1、市场包装：单个型号不利于市场推广和包装，多注册几个型号可以提高市场竞争力迷惑对手；\n2、可以用于区分公立医院和民营医院；\n\n"]