{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet2","index":0,"n_rows":16,"n_cols":5,"rows_kept":16,"cut":false,"hidden":false,"merged":[[1,0,3,0],[4,0,6,0],[7,0,9,0],[10,0,12,0],[13,0,15,0]]}
["密山市乡镇医院","设备型号","调研结果","支持","备注"]
["白鱼湾","生化   URIT-8026","厂家工作站仅支持导出TXT格式数据， 未部署卫宁Lis工作站","OK","医院已请求更换设备，时间不确定"]
[null,"血常规 URIT-2900P1us","不支持导出数据","NO","医院已请求更换设备，时间不确定"]
[null,"尿常规   URIT-180","无工作站"]
["黑台","生化    SL300C （珠海森龙生物科技）","厂家工作站导出Excel数据","OK","已部署卫宁Lis工作站"]
[null,"血常规   XPEN60（赛斯鹏芯）","使用卫宁Lis工作站导出Excel数据","OK","已部署卫宁Lis工作站"]
[null,"尿常规   URIT-180","无工作站"]
["连珠山","生化    DS-301（江苏英诺华医）","不支持导出数据","NO","医院准备部署卫宁Lis工作站，时间不确定"]
[null,"血常规   BC-5180（迈瑞）","厂家工作站导出Excel数据","OK","医院准备部署卫宁Lis工作站，时间不确定"]
[null,"尿常规   YD-200","无工作站"]
["知一镇","生化    迈瑞BS-430 ","厂家工作站导出Excel数据","OK","医院准备部署卫宁Lis工作站，时间不确定"]
[null,"血常规   BC-5180（迈瑞）","厂家工作站导出Excel数据","OK","医院准备部署卫宁Lis工作站，时间不确定"]
[null,"尿常规   URIT-560","无工作站"]
["和平乡","生化    BS-380（迈瑞）","使用卫宁Lis工作站导出Excel数据","OK","已部署卫宁Lis工作站"]
[null,"血常规  BC-5180（迈瑞）","使用卫宁Lis工作站导出Excel数据","OK","已部署卫宁Lis工作站"]
[null,"尿常规  URIT-180","无工作站"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}